COMHAIRLE CONTAE ÁTHA CLIATH THEAS
SOUTH DUBLIN COUNTY COUNCIL

MEETING OF TERENURE-RATHFARNHAM AREA COMMITTEE 1

Tuesday, April 03, 2007

QUESTION No. 18

QUESTION: Councillor C. Keane

"To ask the Manager for an update on the most recent planning application at the Burmah Garage Wellington Lane Templeogue?"

REPLY:

Planning application SD06A/0953 was received on 09/11/2006. The applicant, Curved Space Ltd. sought permission for the demolition of 1 & 2 Wellington Cottages and Filling Station and construction of 1 three storey, and 1 part 2, part 3 storey apartment buildings containing 15 two bedroom units and one three bedroom unit, with surface carpark and associated landscape works, at a site at 1 And 2, Wellington Cottages, & Site Between 1 Wellington Cottage, & 45 Wellington Lane, Dublin 6W.

On 10/01/2007 the Council requested additional information which was received on 20th February 2007.

Having considered the information received the Council determined on 15th March 2007 that clarification of additional information is required by the applicant in the following areas;

- The applicant is requested to submit a revised drawing clarifying the details of the foul longitudinal section for the proposed crossing of Wellington Lane, which is inconsistent with details shown on the site drainage layout.

- The applicant is requested to submit revised drainage drawings.  The existing sewer levels (FWMH 58 and FWMH 56) as shown on the applicant's further information drawings are inconsistent with taken in charge drawings.   The applicant shall establish on site exact sewer levels and shall submit revised plans and longitudinal sections showing actual manhole invert and cover levels so that an assessment of service crossings and feasibility to connect into the existing public foul sewer can be made.

- The applicant is requested to submit revised plans mapping out the exact location of the surface water pipes, and clearly showing how it is proposed to cater for same.
The route of all existing surface water pipework in the vicinity of the proposed development is likely to cross the proposed foul sewer, and the surface water pipe downstream of manhole SWMH 37 is not clear.

- The applicant is requested  to confirm if the applicant has chosen to  connect foul water discharge from the development via the existing sewer on the western part of site (Drawing KM42-01).  If so, the applicant should submit revised drainage layout for the development showing connection to the sewer. These shall include details of the existing pipe, including pipe size, pipe gradient, invert and cover levels, etc to prove that the pipe has sufficient capacity to convey flows from the proposed development.

- The applicant is requested to submit  a detailed landscape plan with full works specification (including timescale for implementation) and bill of quantities for the development of the green space. This plan to include grading, topsoiling, seeding, paths, drainage, boundary treatment and planting. In addition the Landscape Plan should include detailed plans as to how the landscaping of the stream to the North of the site will be addressed in the Landscape Plan and detailed specifications for the entrance and boundary treatment of the site.  These works to be in accordance with South Dublin County Council's Guidelines for Open Space Development & Taking in Charge available from the Parks and Landscape Services Department.

- The applicant is requested to submit a detailed tree survey indicating, location,  species, height, stem diameter, branch spread, height of crown clearance, age class, physiological condition, structural condition, preliminary management recommendations, estimated remaining contribution (years) and category grading, prior to the commencement of works on site.  This submission should include an Arboricultural Impact Assessment and an Arboricultural Method Statement (which should include a Tree Protection Plan).  The above details to be compiled by a qualified Arborist and be in compliance with British Standard 5837- 2005 Trees in relation to construction.

- The applicant is requested to submit  detailed proposals for the provision of suitable facilities for children's play (including type and quantity of equipment in accordance with the current EU Standards) which are to be located on the areas of public or communal open space.

- The applicant is requested to submit a draft Management Agreement in relation to the future maintenance and management of all open spaces, landscape areas and associated planting provided within the development.

At the date of response to this question the items requested above have not been received.