COMHAIRLE CONTAE ÁTHA CLIATH THEAS
SOUTH DUBLIN COUNTY COUNCIL

MEETING OF SOUTH DUBLIN COUNTY COUNCIL

8th September 2008

HEADED ITEM NO.

Planning and Development Act 2000
Part 8 Planning and Development Regulations 2001

Development by the Council in partnership with Chartridge Developments Ltd of new storm water outfall facility and associated works, to facilitate storm water drainage from Adamstown SDZ on lands located between the Celbridge Road, Millstream Road and Lucan Golf Club, in the townland of Dodsborough, Lucan,Co Dublin.

#### 1. Introduction

Part 8 of the Local Government Planning and Development Regulations 2001 outlines the requirements in respect of certain classes of Local Authority developments. These Regulations apply to the proposed development by the Council, in partnership with Chartridge Developments Ltd., in the townland of Dodsborough, Lucan, Co Dublin, as outlined above.

The following report on the proposed development was noted at the meeting of the Lucan/Clondalkin Area Committee held on the 24th June 2008 (Minute No. LC/529/08 refers.) and it was agreed that the Council should commence the Part 8 of the Planning and Development 2001 Regulations procedure in respect of the proposed development

‘ MEETING OF LUCAN-CLONDALKIN AREA COMMITTEE (2)

Tuesday, June 24, 2008

HEADED ITEM NO. 7

Public consultation procedure under Part 8 of the Planning and Development Regulations 2001 -

Proposed new stormwater outfall facility on lands located between the Adamstown SDZ, Celbridge Road and the River Liffey in the townlands of Dodsborough, Tobermaclugg and Cooldrinagh, Lucan, Co.Dublin.

REPORT:

In accordance with Part 8 of the Planning and Development Regulations 2001, the Council, in partnership with Carthridge Ltd., developers at Adamstown Strategic Development Zone (SDZ), proposes to construct a new stormwater outfall facility and associated works, to facilitate stormwater drainage from the Adamstown SDZ, on lands located between the Adamstown SDZ, Celbridge Road and the River Liffey in the townlands of Dodsborough, Tobermaclugg and Cooldrinagh, Lucan, Co. Dublin. The proposed works will also alleviate the occasional flooding problems in the environs of Tubber Lane.

The proposed works will comprise construction of an attenuation pond of 5,000m3 and associated works site, fencing and landscaping.

Submissions or observations in respect of the proposed works, dealing with the proper planning and sustainable development of the area in which the proposed development would be situated may be made in writing to: The Senior Executive Officer, Environmental Services Department, South Dublin County Council, County Hall, Tallaght, Dublin 24

The latest date for the receipt of submissions or observations is 5.00pm on Monday 11th August 2008.

A map and drawings relating to the proposed development are available at the meeting.’

2. Public Consultation

Notice of the proposed development was advertised in the ‘Irish Independent’ on the 26th June 2008. Plans and particulars of the proposed development were available for public inspection at the following locations;

Council Headquarters,

County Hall,

Tallaght.

Civic Offices,

9th Lock Road,

Clondalkin

Lucan Library,

Superquinn Shopping Centre,

Newcastle Road Lucan.

Details of the proposed development were also posted on the Council’s website and on the site itself. Notice of the proposed development was also forwarded to prescribed bodies in accordance with the Regulations.

The latest date for the receipt of submissions or observations in relation to the proper planning and sustainable development of the area in which the proposed development would be situated was the 11th August 2008.

3. Submissions received.

Two submissions were received as follows before the latest date for the receipt of submissions or observations in relation to the proposed development.

Submission 1; Department of the Environment Heritage and Local Government – Development Applications Unit.

The Department recommends that an Archaeological Impact Assessment be prepared to assess the potential impact on archaeological remains in the areas where the development is proposed to take place, for submission to the Department before construction commences on site.

Council’s  Response

An archaeological assessment was carried out in 2006 by Irish Archaeological Consultancy Ltd on behalf of Chartridge Developments Ltd as part of the development of the Adamstown SDZ. A copy of this assessment has been forwarded to the Department.

Submission  2;  Eastern Regional Fisheries Board

The Board stated that the aspect of the work which provided for the construction of an attenuation pond on the line of the Tobermaclugg stream is unacceptable as it would result in significant loss of natural habitat, consequent ecological degradation and loss of salmonid status. The Board suggested that the creation of attenuation off line or the creation of a multi – stage channel, retaining a low flow and maintaining marginal and instream diversity, would be acceptable. Clarification and detail is also required on the cleaning of the stream along Millstream Road.

Council’s Response

Council staff met with Board officials since the submission was received to discuss the matters raised in the submission. The Council gave undertakings in writing to the Board that the issues raised in the Boards’ submission will be addressed. The Board accepted the undertakings given.

4.  Recommendation

The proposed works and their associated works are consistent with the requirements of the South Dublin County Development Plan 2003 and the Adamstown SDZ Planning Scheme 2003 with respect of surface water drainage and are in accordance with the proper planning and sustainable development of the area. It is therefore proposed to proceed with the works subject to the following;

- All topsoil stripping associated with the proposed scheme to be monitored by a suitably qualified archaeologist and full provision to be made for the resolution of any archeological features/deposits that may be discovered.

- The archaeological recommendations of the Department of the Environment, Heritage and Local Government to be ascertained prior to commencement of works.

- The Eastern Regional Fisheries Board to be consulted during all stream works.

- The Parks Department to be consulted in respect of landscaping, grading and tree clearance works in the vicinity of the attenuation pond.

- The Roads Department to be consulted in respect of works that fall within the site of the N4 upgrade works.

A file containing the submissions received is available for inspection at the meeting.