COMHAIRLE CHONTAE ATHA CLIATH THEAS

SOUTH DUBLIN COUNTY COUNCIL

# MEETING OF SOUTH DUBLIN COUNTY COUNCIL

MONDAY 14th NOVEMBER 2005

Headed Item No.11

Report on the Consultation Process for the Draft Byelaws for the Management of Water Services and the Conservation of Drinking Water 2004.

Section 37(1) of the Local Government Act 1994 authorises a local authority ‘to make a bye-law for or in relation to the use, operation, protection, regulation or management of any land, services, or any other thing whatsoever provided by or under the control or management of the local authority or in relation to any matter connected therewith’.

In exercise of this authority and in accordance with Section 37(1), the Water Section prepared draft byelaws for the Management of Water Services and the Conservation of Drinking Water during 2004 for public consultation and comment.

Background

As the management of water in Dublin is a regional strategy, the byelaws follow a common template as adopted by Dublin City Council on 1st January 2004 and by Fingal County Council on 9th June 2005.  This template has been tailored to recognise particular circumstances in South Dublin County but the central provisions are common.

Consultation

Environment SPC.

- The draft byelaws were presented to the meeting of the Environment Strategic Policy Committee on 23rd September 2004. The Committee recommended to the Council that the procedure for the adoption of the Byelaws be initiated and that a report be made to each Area Committee, prior to publication.

Area Committees.

- The draft byelaws were presented to the meeting of the Tallaght Area Committee on 15th November 2004. The report was noted.

- The draft byelaws were presented to the meeting of the Lucan/Clondalkin Area Committee on 16th December 2004. The report was noted.

- The draft byelaws were presented to the meeting of the Terenure Rathfarnham Area Committee  on 11th January 2005. Consideration of the report was deferred to the February meeting of the Committee.

At the meeting of the Terenure Rathfarnham Area Committee Meeting, on 8th February 2005, the report was not reached.

At the meeting of Terenure Rathfarnham Area Committee Meeting on 8th March 2005, the Committee recommended that the draft byelaws be referred to the County Council for approval.

Public Consultation.

- A public notice was placed in the Irish Independent on April 27th 2005 giving notice of the intention of South Dublin County Council to make byelaws for the purpose of preventing the waste, undue consumption, misuse or contamination of drinking water. The notice listed the locations where copies of the draft byelaws were available free of charge and advised that South Dublin Council would consider any submissions in relation to the draft byelaws which were submitted in writing by any person on or before 2nd June 2005.

- The byelaws were available on the Council’s website http://www.southdublin.ie.

## Submissions Received.

As a result of the public display of the Draft Byelaws, no submissions were received by the Senior Executive Officer of the Environmental Services Department within the period specified.

### Summary

As no representations were received during the statutory consultation process, it is recommended that the Bye-laws be adopted by resolution of the Council as this is a reserved function.

It is hereby resolved that South Dublin County Council makes Bye-laws under Section 27 of the Local Government Act, 1994 for the Management of Water Services and the Conservation of Drinking Water.

#### SOUTH DUBLIN COUNTY COUNCIL

##### COMHAIRLE CHONTAE ATHA CLIATH THEAS

DRAFT BYE-LAWS FOR THE MANAGEMENT OF WATER

###### SERVICES AND THE CONSERVATION OF DRINKING WATER 2004

South Dublin County Council, in exercise of the powers conferred on it by Section 37 of the Local Government Act 1994 hereby make the following bye-laws relating to the management and conservation of water in its administrative area.

# PART 1:		PRELIMINARY

Short Title:	These bye-laws may be cited as South Dublin County Council Water Bye-laws 2004.

Area of Application: These bye-laws shall apply to the administrative area of South Dublin County Council and shall relate to the provision conservation and management of the supply of potable water in the said its administrative area. All work associated with the provision of a water supply shall comply with the requirements of these bye-laws.

Date of Commencement: to be confirmed

1.1	Definitions In these Bye-laws

    - ’Applicant’ shall mean a person or body corporate seeking to connect to or increase the supply from the Council’s water supply

    - 'Approval' means approval in writing by the Water Section, of the Environmental Services Department, South Dublin County Council.

    - ‘Authorised Person' means a person who is authorised in writing by South Dublin County Council for the purpose of these bye-laws or a member of the Garda Síochána.

    - ‘Customer or Consumer' means any person or body corporate who is supplied with or uses water supplied by South Dublin County Council or its agents and shall include an applicant.

    - ‘Domestic premises means any premises or part thereof occupied whether permanently or temporarily by a person as a place of private residence whether or not as his or her principal place of such residence or not.

    - 'Flow Meter' means a water meter, which measures and/or records the rate of water flow in a water main.

    - 'Free Flow Meter' means a water meter, which does not impede or restrict the free flow of water in a water main.

    - ‘Meter’ means a device, which measures and/or records the rate of water flow in a water main.

    - ‘Non-Domestic Premises’ means any building or part of a building which is not a domestic premises as defined in these bye-laws and to which water is being or will be supplied by South Dublin County Council or its agents.

    - ‘Occupier’ means the person or persons or body corporate who is owner, lessee, tenant or any other person or body corporate having, for the time being, control of the premises.

    - 'Polluter pays principle' means the principle used for allocating costs of pollution prevention and control measures to encourage rational use of scarce environmental resources.

    - ‘Premises’ means any building or structure whether permanent or temporary in nature and includes a site

    - 'Service Pipe' means the portion of any pipe (including a branch pipe) for supplying water from the public water main to any premises and which is subject to water pressure from that water main, or would be so subject but for the closing of some valve.

    - ‘Long Service’ means a service pipe greater than 100m in length from the connection at the public water main to the customer’s premises.

    - ‘Stop Tap (Valve & Meter) Box' means an enclosure (usually placed in a footpath) or box into which devices can be placed to control or measure the water supply entering a premises. It can also be used to identify and verify supply pipe water leakage; to facilitate the service testing of pressure and flow of water; and to monitor water quality.

    - 'Stop valve or Stopcock' means a valve, other than a servicing valve, fitted in a pipeline for controlling or stopping at will the flow of water.

    - ‘The Council’ means South Dublin County Council.

    - ‘Water Audit’ means an annual statement prepared by a competent person or body corporate (acceptable to the Council) and submitted to the Council in respect of an existing non-domestic premises to which a Water Conservation Policy Statement applies. Such statement shall set out details of all water using equipment installed in the premises, the number of staff employed in or using the premises and an estimate of daily water requirement for the next 3 years. The audit shall identify any leaks or excessive use of water and identify how such leaks or excessive use is to be repaired/reduced.

    - ‘Water Conservation Policy Statement’ means a statement prepared by a competent person or body corporate (acceptable to the Council) and submitted to the Council for approval in relation to an existing non–domestic premises which uses in excess of 5000 litres of water per day. Such statement shall set out details of all water mains supplying the premises; the internal plumbing arrangements; a full list of all water using appliances, together with their capacities and consumption rates; and details of any leaks in the pipework on the premises and how such leaks can be detected and repaired. Details of any water recycling and reuse shall be included in the statement.

    - Water Section’ means the Water Maintenance Section and/or Water Management Section of the Environmental Services Department of South Dublin County Council responsible for the supply of water to domestic and non-domestic premises.

    - ‘Water Management and Conservation Plan’ means a plan prepared by a competent person or body corporate (acceptable to the Council) that shall be submitted to the Council for approval prior to the commencement of any development that is subject to permission under Planning and Development legislation. The plan shall set out details of how best practice in water usage and conservation shall be applied in respect of the proposed development to include water mains and internal plumbing. The plan shall also set out details of how water wastage, leaks or excessive consumption may be identified and remedied.

    - ‘WC Suite’ means any suite consisting of a flushing cistern and pan or urinal into which water is discharged.

PART 2:		CONNECTION TO A WATER SUPPLY.

    - The approval of the Council in writing shall be required prior to the laying of and/or connection to any water main owned or controlled by the Council and/or containing water supplied by the Council.

    - Any person or body corporate applying for a new or additional water supply shall first contact the Water Section to ascertain if a water main is in place from which a water supply may be available.

    - Every material used to connect to a supply of water shall:

- be of an appropriate quality and standard, and

- be suitable for the circumstances in which they are used and

- comply with South Dublin County Council’ s Specification for the Laying of Water Mains.

For the purposes of these bye-laws, a material or fitting is of an appropriate quality or standard only if it conforms with an appropriate Irish Standard (I.S.), a British Standard (B.S.) or an equivalent standard of a Member State of the European Economic Area (EEA), a harmonised European Standard (EN) or a European Technical Approval (ETA).

:

    - Where an application has been made to the Council for the laying of a new water supply or service connection, the Water Section shall, at the expense of the customer, carry out the appropriate connections provided always that:

- the Council is satisfied that the water mains and/or service pipes have been laid and tested in accordance with the Water Section’s Specification for the Laying of Water Mains

- the Council has been paid in advance for all expenses due  for the water connection

- any financial contributions due to the Council pursuant to the Planning and Development Acts 2000 as amended or extended have been paid in full.

- Proof of payment for the foregoing shall be a matter for the applicant

    - All pipes, which supply or may supply potable water, shall be flushed to remove debris including excess flux that may have collected in the pipes during installation, renewal or repair. After testing and flushing, installations shall be disinfected in accordance with the requirements of the Water Section.

    - All pipes, fittings and plumbing works associated with the supply and connection of water to a domestic or non-domestic premises (and which subsequently shall be concealed or buried underground), shall be left uncovered in a safe manner for inspection by an Authorised Person.

    - Any additional pipe, fitting or apparatus connected to any installation supplied with water by the Council and any alteration to any existing pipe, fitting or apparatus shall be carried out by a competent person in accordance with the requirements of the Water Section. The Water Section shall be notified in writing in advance of such additions or alterations (other than a repair).

    - The service pipe shall be laid without mechanical joints from the street Stop Tap (Valve & Meter) Box to a stop valve inside the house from which it may be readily removed and replaced and shall be contained within a 50mm duct along the entire length with 450mm minimum cover to finished ground level.

    - A domestic long service shall be metered and a charge will be applied for the supply if the consumption exceeds the allowance thereof as set by the Water Section.

    - Waters of varying degrees of softness, hardness, or other characteristics may be received in any particular part of the water supply area. The customer shall ensure that the hot water and the cold water supply installations are suitable for the type of water supplied.

    - The Water Section may require a meter to be installed on all or any connections for the purpose of managing or conserving water.

PART 3:		GENERAL CONDITIONS RELATING TO THE SUPPLY OF WATER

    - The customer shall ensure that the water distribution system in his/her premises meets the requirements of the Water Section and is maintained so as to protect public health, prevent leakage and conserve water.

    - Materials or substances, which cause or are likely to cause contamination of water, shall not be used in the construction or installation of any apparatus, pipe or water fitting which receives or conveys potable water.

    - All water systems shall contain an adequate device or devices to prevent the occurrence of backflow.

    - The Council shall maintain that portion of any service pipe or long service pipe laid in any road or street or area in charge of the Council up to a point 225 mm from outside the boundary with private property.   The responsibility for the maintenance of the service pipe or long service pipe beyond the said point shall be the responsibility of the owner or occupier of that private property.

    - The customer shall be responsible for that section of the service pipe, which extends from a point 225 mm outside the boundary into his/her premises. Renewal of the service pipe from the street control stopcock/boundary box in through the immediate premises boundary shall only be carried out in accordance with the Council’s requirements.

    - A person or body corporate shall not install any apparatus for softening water except in pursuance of an agreement in writing with the Water Section. Where the use of such apparatus is permitted it shall be correctly installed.  The apparatus, pipes and fittings shall be at all time suitable for the provision of potable softened water.

    - Any apparatus, which would have the effect of rendering potable water unfit for human consumption, shall not be fitted.

    - The fitting of a pump to the direct water supply from the public mains shall only be undertaken with the consent of and in accordance with the requirements of the Water Section.

    - All underground fire hydrants must be to a type and specification approved by the Council.

    - Every customer shall ensure that water supplied to his/her premises for potable purposes shall not deteriorate to such an extent that it is no longer suitable for human consumption.

    - Employees or agents of the Council engaged in the provision of water supply services may enter a premises at any reasonable time to inspect the water supply and/or carry out essential works in order to protect public health or at any time in cases where in the opinion of the Council, an emergency exists.

    - The Council may interrupt the water supply of the customer without prior notice for the purpose of protection of public health, inspection, and leak detection or any other valid reason.

    - Each premises shall be fitted with a cold water storage facility adequate and appropriate for the use of the premises. Such facility shall be maintained in accordance with the manufacturer’s guidelines or other best practice.

    - The Council may, having regard to the Local Government (Delimitation of Water Supply Disconnection Powers) Act 1995 or any other statute as appropriate, disconnect the water supply of a customer, for any of the following reasons:

- If the customer fails to pay to the Council any charges due for the supply of water;

- if in the opinion of Council, the customer’s use of water is deemed to be wastage of water;

- if the customer breaches any of the terms or conditions under which the water is supplied;

- the water is connected to or used for any unauthorised development

- for any other valid reason.

3.2	Additional Conditions applicable to Non-Domestic Premises:

- Employees or agents of the Council engaged in the provision of water supply services may, at all reasonable times, enter the premises of a customer for the purposes of reading, inspecting, disconnecting or removing the meter(s) and for any other purpose in connection with the supply of water.

    - If, in the opinion of the Council, the nature of the customer’s water demand is such that it is likely to produce what the Council determines to be a significant impact upon a water treatment works, distribution system or other customers, the Council may require the customer to enter into a contractual arrangement to have capacity assigned at the said works for the purpose of treating water on behalf of the customer or to require the customer to restrict maximum inflow and install adequate storage, at the customer's expense, on the customer's premises or elsewhere.

    - The Council shall supply water to non-domestic premises on such terms and conditions as may be determined by the Council. In particular, charges for the on-going supply of water in respect of non-domestic premises shall have regard to the polluter pays principle and be on the basis that the Council shall recover the full cost of the provision of these services in accordance with EU and Central Government policy.

    - Large withdrawals of water from the water mains for serving cooling plants or other operations shall not be permitted without the written approval of the Council. The Council shall determine the limits that define a large withdrawal of water.

    - The customer may apply for termination of the water supply by giving seven days notice to the Council. The customer shall be liable for the costs incurred for the consumption of water up to the date of disconnection and for the disconnection charge.

    - The minimum water storage for non-domestic premises shall be calculated on a 24-hour or maximum daily consumption basis.

3.3	Meters for measuring the supply of water to non-domestic premises

    - Each premises shall be connected to a Flow Meter for the purpose of measuring the quantity of water supplied to the premises. Each meter shall, with its appurtenances, be supplied by the Council and shall be rented by the customer from the Council at such standard rent or charge as may be from time to time fixed by the Council and the Council shall decide the size and type of such meter and the point in the service pipe where it shall be placed.

    - At the request of a customer, the Council shall test the accuracy of a meter to ascertain if it is within the prescribed range of accuracy specified for such meter. When the quantity of water registered by the meter at normal flows is not more than 3% above or below the actual quantity passed through the meter, the meter shall be deemed to be accurate unless the Council has agreed alternative parameters in writing. If it is outside the specified range the customer’s account shall be increased or reduced accordingly. Otherwise the recording of meters and other apparatus shall be deemed conclusive. When tests prove that meters and other apparatus are operating satisfactorily the customer shall be required to pay all outstanding charges including the cost of any test carried out by or on behalf of the Council.

    - Only persons or agents authorised by the Council shall read the meter(s) and only persons or agents authorised by the Council shall repair, connect, remove or work on any equipment belonging to the Council and associated with the recording of the water supply.

    - In the event of unauthorised interference, whether by the customer or otherwise, whereby water has been consumed without being properly metered, the Council reserves the right to estimate the unrecorded consumption and include the charge for same in the customer’s account.

3.4 	Charges for the Supply of Water to Non-Domestic Premises.

    - Prior to being connected to the water supply, the customer shall complete, or have completed by an agent, the appropriate meter application form and pay in advance to the Council the appropriate connection fee and any contribution due under the Planning and Development Acts.

    - All applications for a building site branch connection must be accompanied by evidence of a meter agreement for the water supply, which will remain in force until such time as the Council takes the development in charge.

    - The Council shall periodically issue an invoice to the customer, which shall include a charge for the metered supply of water together with the rental charge for the meter. In premises where a meter has not been installed, invoices shall be based on a charge determined by the Council based on the estimated supply of water.

    - All invoices shall be sent to the billing address shown on the appropriate Application Form completed by the customer or his/her/its agent (or any other address subsequently notified to the Council by the customer or his/her/its agent).

    - All charges shall be paid in full by the due date specified in the invoice. The Council may charge interest at the prevailing rate for each month or part of a month on all amounts, which remain unpaid after the due date specified in the invoice until payment is made.

    - It shall be the responsibility of the applicant to notify the Council of any change in contact details.

    - Where a customer has not paid in full by the due date the amount specified in the invoice, the Council may serve a notice on the customer stating that it may disconnect the water supply to the premises. The notice shall be served at the billing address notified to the Council or at the premises to which the notice applies. If the invoice remains unpaid seven days after the service of such a notice, the Council may disconnect the water supply to the premises without further notice. The customer shall continue to be responsible for all unpaid amounts together with the disconnection charge.

PART 4		WATER ConservatIon

4.1 	Obligations in relation to all Premises (Domestic and Non-Domestic)

    - No development shall commence (except in respect of a new single dwelling or extension to an existing single dwelling) prior to submission to the Council of a Water Management and Conservation Plan and approval by the Council in writing of the said Plan.

    - Each WC suite installed in a newly constructed premises or in a premises converted from another use shall have a maximum flush of 6 litres using a multi flush or a single flush facility.

    - Each new WC suite installed in an existing premises, whether it is an additional WC suite or a replacement for an existing suite, shall have a maximum flush of 6 litres using a multi flush or a single flush facility.

    - Each WC cistern with a volume in excess of 6 litres may be fitted with a Displacement Device or equivalent with the objective of achieving water conservation where, in the opinion of the Council, this is feasible.

    - Each new domestic and non-domestic premises shall be fitted with a Stop Tap (Valve and Meter) Box of a type approved by the Council.

    - Developments consisting of more that one domestic unit shall incorporate into the water mains in accordance with the Council’s requirements a Bulk Water Meter to measure the total (bulk) volume of water which will be delivered to that development or estate

Each existing WC cistern with a volume in excess of 6 litres shall be fitted with a Displacement Device or equivalent with the objective of achieving water conservation where, in the opinion of the Council, this is feasible.

    - A customer shall not use a water supply laid on for fire fighting purposes for any other purpose without the written approval of the Water Section.

    - A standpipe licence shall be obtained from the Council prior to access, use or draw-off from a fire hydrant. Any person requiring a licence shall complete the appropriate application form and pay to the Council the licence fee of such amount as the Council considers reasonable and comply with the conditions specified in the licence.

    - Any unauthorised use of a fire hydrant shall be an offence and the Council may impose a fine for this offence and/or charge for the water used.

    - Washing machines, dishwashers and other appliances shall be economic in the use of water and plumbed in a manner that achieves the objective of conserving water and in accordance with the Council’s requirements.

    - A hosepipe (sprinkler or similar fitting) shall not be connected to a draw–off tap or other similar fitting for use either inside or outside any premises during periods of drought or water rationing as defined by the Council except on installations where the use of the hosepipe is essential to the business being carried out and the installation meets the requirements of the Water Section.

4.2 	Additional obligations in relation to Non-Domestic Premises:

    - The maximum permitted use of water in premises shall be an average of 5,000 litres per day, or such other quantity as may be determined from time to time by the Council. The occupier of premises, which uses in excess of that amount of water per day shall be required to obtain the written approval of the Council in advance for the use of the excess volume.

    - A Water Conservation Policy Statement shall be submitted for approval to the Council by the occupier of any premises which uses in excess of 5,000 litres per day, or such other quantity as may be determined from time to time by the Council. Failure to submit such a Statement within nine months of these bye-laws coming into effect shall be an offence. A new statement shall be submitted every 3 years or at such other times as determined by the Council or at any change of use or ownership.

    - The occupier of a premises to which a Water Conservation Policy Statement applies shall carry out a Water Audit at least once every year and shall submit the Audit Report to the Council for approval. Failure to submit such an Audit within the time specified by the Council shall be an offence.

    - Each premises shall be connected to a Flow Meter or shall have its water flow assessed by the Council

    - Automatic flushing cisterns shall be installed in a manner that achieves the objective of conserving water.

    - Free Flow Meters shall be installed in all fire mains and shall be used as a check meter for water conservation purposes. A charge will be levied for water used.

    - Any hand held hosepipe used shall be fitted with a self-closing mechanism at the outlet of the hosepipe.

    - Porous hose irrigation systems or soil watering systems using fixed sprinkler heads shall not be used without the written approval of the Council

    - Plumbing systems and all fittings used in the supply of water shall be of a type, which achieves the objective of conserving water.

PART 5		OFFENCES.

  - A person who contravenes any provision of these bye-laws shall be guilty of an offence and shall be liable on summary conviction to a fine not exceeding €1900

  - If the contravention of a provision of these bye-laws is continued after conviction, the person causing the contravention shall be guilty of a further offence and shall be liable on summary conviction to a fine not exceeding €125 per day.

  - A person or body corporate may be served with a notice, specifying a fixed payment, not exceeding such amount as may be prescribed by regulations made by the Minister, in respect of a contravention of these bye-laws or any of them.  No prosecution will be taken against a person served with a notice herein if payment of the fixed payment is made to the Council within the time specified in the notice.  The onus of proving that a payment pursuant to a notice under these bye-laws has been made shall lie with the person or body corporate served with the notice.

  - An authorised person may request any person or body corporate who appears to be contravening or to have contravened a provision of these bye-laws to refrain from such contravention and that person or body corporate shall comply with the request of the authorised person.

  - A person or body corporate who refuses to comply with the request of an authorised person or who obstructs or impedes an authorised person in the exercise of his/her functions under these bye-laws shall be guilty of an offence.

  - Where an authorised person is of the opinion that a person or body corporate is committing or has committed an offence in relation to the provisions of these bye-laws, the authorised person may demand the name and address of such person and if that demand is refused or the person gives a name or address which is false or misleading, that person or body corporate shall be guilty of an offence.

  - Where an offence under these bye-laws is committed by a body corporate and the offence is proved to have been committed with the consent or connivance of, or be attributable to any neglect on the part of, any director, manager, secretary or other similar officer of the body corporate or any person who was purporting to act in any such capacity, that officer or person, as well as the body corporate, shall be guilty of the offence.

  - Where the affairs of a body corporate are managed by its members, Section 5.6 shall apply in relation to the acts and defaults of a member in connection with his or her functions of management as if he or she were a director of the body corporate.

  - Where any notice is required to be served on or given to a person or body corporate under these bye-laws it shall be deemed to be served if served in any of the following ways:-

- by delivery by hand

- by sending it by post in a prepaid registered letter addressed to a person or body corporate at the address at which he or she or body corporate ordinarily resides

- by prepaid ordinary post at the registered office of a company or body corporate.

  - In the event of any clause or clauses hereto being rendered void or voidable or inoperable that clause or those clauses shall be severed and shall not effect those clauses still remaining

First Schedule

South Dublin COUNTY COUNCIL WATER BYE-LAWS 2004

FIXED PAYMENT NOTICE FOR THE PURPOSES OF SECTION 41 OF THE

LOCAL GOVERNMENT ACT, 1994

[BYE-LAW NUMBER 5.3]

# NAME OF LOCAL AUTHORITY: SOUTH DUBLIN COUNTY COUNCIL

| TO: | Name: |  |
| --- | --- | --- |
|  | Address: |  |

It is alleged that you have contravened the provisions of bye-laws made under Part VIII of the Local Government Act, 1994 entitled BYE-LAWS FOR THE MANAGEMENT OF WATER SERVICES AND THE CONSERVATION OF DRINKING WATER 2004 by ………………………………………………………………………………………………………………………………………………………………………

(in general terms specify nature of contravention) at …………………………………………………………………..

on …………………………………………………………………….. . During this period of 21 days beginning on the date of this notice you may pay the sum of €……………………………………, accompanied by this notice, at the offices of the local authority named in this notice, located at …………………………………………………………………………………………………………………………………………………………………… .

A prosecution in respect of the alleged contravention will not be instituted during the said

period and if the sum of €………………………………………….. is paid during that period, no prosecution will be instituted at any time.

Signed: ___________________________ Date: _____________________

(Authorised Officer)

| IMPORTANT: | Payment will be accepted at the offices of the local authority specified above and must be accompanied by this notice. Payment may be made by post. Cheques etc., should be made payable to South Dublin County Council. |
| --- | --- |

A receipt will be given.

You are entitled to disregard this notice and defend the prosecution of the allegedcontravention in Court.