## Slide 1: Building Control (Amendment) Regulations 2014
Presentation to Elected Members introducing
New Building Control System

## Slide 2: Summary-BCAR-SI 9 of 2014
The Regulations set out to improve Consumer Confidence & Traceability by:
  Introduces mandatory competency requirements
  Provide a chain of responsibility right through the building process.
  Provide clarity to roles and
  Clear responsibilities of Stakeholders
  Provides security for purchaser

## Slide 3: Building Regulations, Responsibility for Enforcement
Local Building Control Authorities responsibilities
Accept and Register Electronic and hardcopy (at additional cost) Commencement Notices + Documents
Review valid CN’s and Select development for inspection;
Inspect selected works in progress;
may serve enforcement notices for non-compliance;
may institute legal proceedings for breaches of regulatory requirements;
may seek High Court injunctions for non-compliance in events of a considerable & serious danger to public.
The DECLG-target inspection rate of 12-15% of all buildings covered by valid commencement notices.

## Slide 4: Building Regulations, Responsibility for Compliance
Burden and responsibility for compliance rests with
developers/builders, designers and building owners;
A statutory responsibility for professionals to design in accordance with the building regulations; and
for builders to build in accordance with the Building Regulations and
For Assigned Certifiers to certify works only that comply with the Building Regulations.
A building cannot be opened or occupied before the entering on the Register of a valid Completion Cert

## Slide 5
  Architects on register pursuant to Part 3 of the Building Control Act 2007 or
  Building Surveyors on register pursuant to Part 5 of the Building Control Act 2007 or
  Chartered Engineers on register pursuant to Section 7 of the Institution of Civil Engineers of Ireland (Charter Amendment) Act 1969. and
  Competent: The regulations specifically require the Assigned Certifier to be competent to inspect and certify the works
5
Who can sign Design Certificate and/or act as Assigned Certifier

## Slide 6: Mandatory Certification
The following must be submitted with the CN
Design Certificate (incl. Ancillary Certificates)
“...design…plans….calculations….specifications….competence….”
Notice of Assignment of Assigned Certifier
“..owner…assigned…competent to inspect the building or works…”
Undertaking by Assigned Certifier
“….reasonable skill care and diligence, to inspect the building…..”
Notice of Assignment of Builder
“……I have assigned...as Builder of the…satisfied…competent….”
Undertaking by Builder
“...undertake to construct...compliance…Building Regulations”
Preliminary inspection plan, Online assessment via BCMS

## Slide 7: Mandatory Certification
The following must be submitted when the works are complete.
Certification of compliance on completion
Part A: Certificate signed by Builder:
“….I confirm that I am the Builder… I certify …that the building or works…constructed in accordance…..plans….specifications …..requirements…. Building Regulations.
Part B: Certificate signed by Assigned Certifier:
“….I confirm that I am the Assigned Certifier…plans, calculations, specifications I now confirm that the inspection plan...has been undertaken by the undersigned…skill, care and diligence…. compliance …..Building Regulations.

## Slide 8
Number 3 of 1990.
_________________________
BUILDING CONTROL ACT, 1990
__________________________
AN ACT TO PROVIDE FOR
THE ESTABLISHMENT OF BUILDING CONTROL AUTHORITIES AND
THE MAKING OF BUILDING REGULATIONS AND
BUILDING CONTROL REGULATIONS AND
TO PROVIDE FOR MATTERS RELATING TO THE
CONSTRUCTION OF BUILDINGS AND
TO PROVIDE FOR OTHER MATTERS CONNECTED THEREWITH.
[21st March, 1990]
Number 21 of 2007
————————
BUILDING CONTROL ACT 2007
————————
AN ACT TO AMEND AND EXTEND THE BUILDING CONTROL ACT 1990;
TO REGULATE THE USE OF THE TITLES
“ARCHITECT”,
“QUANTITY SURVEYOR” AND “BUILDING SURVEYOR”;
TO IMPLEMENT CERTAIN PROVISIONS OF DIRECTIVE 2005/36/EC OF THE EUROPEAN PARLIAMENT AND OF THE COUNCIL OF 7 SEPTEMBER 2005 ON THE RECOGNITION OF PROFESSIONAL QUALIFICATIONS
AND TO PROVIDE FOR RELATED MATTERS.
[21st April, 2007]

## Slide 9: FAQ’s on BCAR 2014
Powers available to LA are still same as Acts of 1990 and 2007.
The BCAR 14 makes Regulations for the principle of self certification and traceability to define responsibilities
This only applies to extensions to homes over 40sq.m, buildings over 25 sq.m and any other buildings or works requiring a FSC.
Even if you have your PP, you must lodge your CN prior to 1/3/14 to avoid the new Regulations. Otherwise you may have to have new working drawings prepared and employ additional Certifiers.
Works must commence within 14-28 days of lodgement of CN. After this CN invalid and new CN based on new Reg’s is required.
Certifiers must be on one of the Professional Registers.
The self builder may still operate subject to Regulatory compliance
The full Building Control file does not go on public display.