- COMHAIRLE CHONTAE ÁTHA CLIATH THEAS

- SOUTH DUBLIN COUNTY COUNCIL

- MEETING OF TERENURE/RATHFARNHAM AREA COMMITTEE (1)

TUESDAY 7th FEBRUARY 2006

### HEADED ITEM No. 8

### Taking in Charge of Estates

The attached detailed listing sets out the up-to-date position on the taking in charge of

developments.

One Estate was  taken in charge in 2005 and 2 Estates have been taken in charge in 2006

to date.  Taking in charge recommendations are being prepared in a further 2 cases.

The following is the up to date priority listing for the Terenure/Rathfarnham area:-

Barton Avenue			Stonepark Abbey (Phase 1)

Hyde Park			Stonepark Abbey (Phase 2)

Orlagh Grove			The Recorders

Terenure/Rathfarnham Area

Meeting of the Terenure/Rathfarnham Area Committee (1) - 07/02/2006

Item No.  H-I (8) - Taking in Charge Listing

No. of Houses	Estate	Location	Developer	Works Outstanding

A	ESTATES TAKEN IN CHARGE IN 2005

5	Whitechurch Stream	Rathfarnham	Alan Madigan	Taken in Charge 10/10/2005

A2	ESTATES TAKEN IN CHARGE IN 2006

60	Prospect Downes	Rathfarnham	Albany Homes Ltd	Taken in charge on 09/01/2006

256	Prospect Manor	Stocking Lane	Cavan Developments	Taken in charge on 09/01/2006

C	ESTATES WHERE TAKING IN CHARGE RECOMMENDATIONS ARE BEING PREPARED:

6	Hyde Park	Terenure	Michael Jordan	6 infill houses. Works complete.  Only	small section of						footpath and drainage to be TIC. Drawings submitted

and being checked.

6	The Recorders (154 Whitehall Road)	Whitehall Road	Anthony Graham	Remedial Works Completed.

D	ESTATES WHERE TAKING IN CHARGE WORKS ARE STILL OUTSTANDING

7	Barton Avenue	Rathfarnham	John J. McDonald Ltd.	Minor works outstanding including markers on

hydrants and locks on manholes. As constructed	drawings requested and awaited.

158	Orlagh Grove (Phase 2)	Scholarstown	Menolly Properties Ltd	TIC survey has been completed and lists issued. The

outstanding  items include works to; roads, footpaths,

kerbs, grass margins, drainage, manhole covers and

hydrant markers. "As constructed" drawings are	awaited. A letter has been issued to developer re:	sequestration of bond.

0	Rockwood	Rathfarnham	Blackhorse Development	Developer applied to have sewer TIC. The sewer is

225m diameter pipe installed by them under the

supervision of SDCC and is now running through	public open space in Rockwood.  Wayleave application	awaited.

No. of Houses	Estate	Location	Developer	Works Outstanding

85	Stonepark Abbey (Ph. 1, 2 & 3)	Rathfarnham	M & N O'Grady Devs.	A list of outstanding works has been issued to the

developer which include works to manholes, cable link

manhole and reinstatement to ESB trench. "As

constructed" drawings are awaited.  No request has	been received  from the developer to have the estate	taken in charge.

H	PRIVATE DEVELOPMENTS (NOT TO BE TAKEN IN CHARGE)

46	Cypress Downes	Templeogue	Castlepark Construction Ltd.	Minor works outstanding which includes unfinished

manholes.

19	Edenbrook Court	Rathfarnham	Deane Bros Ltd.	Problem with gabions awaiting report from Deane 					 	Bros.

18	Edenbrook Manor	Rathfarnham	Clayworth	Management Agreement required.

12	Limekiln Green	Greenhills	McHugh Management 	The outstanding items include works to footpath,					Company Ltd.	Hydrant  markers, reposition ESB standard in footpath						and replace 2m road wearing course.

65	Owendoher Court	Ballyboden	Deane Bros. Developments

5	Willbrook Villas	Rathfarnham	Eastern Homes Ltd	Works outstanding - drainage situation being

monitored.