COMHAIRLE CHONTAE ÁTHA CLIATH THEAS

SOUTH DUBLIN COUNTY COUNCIL

## TALLAGHT AREA COMMITTEE MEETING (1)

Monday 15th May 2006

Motion No.  2

Cathaoirleach's Business : Cllr E. Maloney

"That this Committee supports the urgent need for a programme of works to upgrade the section of the River Dodder, which flows through Tallaght, which has suffered from pollution and neglect, and that a sub-budget be established to ensure that this work is completed"

Report:

The Drainage Maintenance function of the Council in relation to rivers is to ensure that the rivers flow freely and that there are no blockages to impede free flow. There are no financial provisions for river upgrade in the current year or within the timeframe of the current 3 year operational programme of works.

In relation to any pollution issue there is a surface water outlet that runs along the ground before entering the Dodder which is suffering from some misconnections. The Council has carried out some work on the outlet by introducing some filtering material and will endeavour to trace the misconnections.

Recent samples of water taken from the Dodder show no evidence of deterioration.

The reservoir overflow outlet far upstream is not causing any pollution, however it introduces large volumes of fast flowing water which can churn up the river at this point.