COMHAIRLE CHONTAE ÁTHA CLIATH THEAS
SOUTH DUBLIN COUNTY COUNCIL

MEETING OF TALLAGHT AREA COMMITTEE 2

Monday, June 26, 2006

QUESTION 4

QUESTION: Cllr. Joe Neville

"To ask the Manager for an update on Planning Application SD05A/1010 with specific reference for the request for additional information and a time-frame for receipt of such information and will the Manager make a statement on the matter?"

REPLY

Planning application no: SD05A/1010 was received on 16/12/2005. The application was made by Kingswood Community & Leisure Centre Ltd, Walnut Close for permission for construction of a community hall, ancillary changing rooms, stores and reception in a single storey structure, foul water to existing foul water sewer, surface water to existing surface water sewer, associated car parking and all ancillary site works, at Sylvan Drive, Castle View, Tallaght, Dublin 24.

On 15/02/2006 a decision to request additional information was made as follows:

- Revised proposals in accordance with the following design principals are requested:

(a)	A minimum of 20 no. car parking spaces with a minimum aisle width of 6metres should be provided,
(b)	The access road should be a minimum of 5metres in width and have a minimum kerb radius of 6metres.

- The following details are requested in relation to the existing community hall:

(a)	The proposed future use and parking arrangements for the existing community hall.
(b)	Details of any agreement in relation to parking within the adjacent school site and details of the effect of new boundary treatments around the school site on the continued use of the school car park, if any.

Note: There is a current planning permission for re-development of the shopping centre/pub site to north. The car park to north may not therefore be available for parking in the future and as such adequate provision should be made for parking for the existing and proposed developments on the application site.

- (a) A survey of existing on site tree planting and details of trees to be removed and retained are requested. 

(b) Proposals for the protection of trees to be retained during the course of construction are requested.  

(c) A landscape plan is requested. The plan should include full works specification (including timescale for implementation), maintenance programme for a period of at least eighteen months and bill of quantities for the development of the open space.  This plan should also include proposals for: grading, topsoiling, seeding, paths, drainage, boundary treatment, planting and trees planting as necessary.  These works are to be in accordance with South Dublin County Council's Guidelines for Open Space Development & Taking in Charge available from the Parks and Landscape Services Department.

- The following details are requested:

(a)	Revised foul drainage plans for the proposed development showing location of all drains, drain size, gradient, manholes, Ajs, invert and cover levels within site boundary up to and including point of connection to the existing sewer.
(b)	Revised surface water drainage plans for the proposed development showing location of all drains, drain size, gradient, manholes, Ajs, invert and cover levels within site boundary up to and including point of connection to the existing sewer. Note: These shall ensure full and complete separation of foul and surface water systems.
A water main layout for the proposed development showing water main size, location of valves, hydrant, meter and proposed point of connection to the existing watermain. Note: The building shall not be more than 46m from the nearest fire hydrant.

If this additional information is not submitted on or before 15-August-2006 a declaration that the application is withdrawn will be made by the Planning Department after that date.