Newcastle Estates Taking in Charge Status

| Development | planning reference | Note |
| --- | --- | --- |
| Aylmer Heath | SD04A/0936 | The applicant has sent documentation for As Constructed drawings, Wayleaves, Road Cores and Nameplate Compliance. TIC Application form is still required. |
| Ballynakelly Roundabout Site | SD20A/0192 | This development is ready for Taken In Charge. will be ready for advertising before the years end. |
| Burgage Gardens | SD17A/0378 | The applicant has sent documentation for Wayleaves, Road Cores and Nameplate Compliance. TIC Application form is still required. |
| Castlechurch | SD15A/0193 | This development will not be Taken in charge until the issues with the planning enforcement have been resolved. The developer did not have planning permission to install the drainage as they did. |
| Graydon | SHD3ABP-305343-19 | This development is ready for TIC. It will be advertised in the first quarter in 2026 |
| Graydon Gate | SD23A_0043 | This is a recently constructed development, will not be ready for TIC until the Newcastle Lyons development has been made public. |
| Newcastle Lyons | SD05A/0344EP & SD10A/0013 | This development is ready for TIC. the developer has made repairs to the drainage system and these need to be checked. this development will be advertised in first quarter 2026 |