COMHAIRLE CHONTAE ÁTHA CLIATH THEAS
SOUTH DUBLIN COUNTY COUNCIL

MEETING OF TERENURE-RATHFARNHAM AREA COMMITTEE (1)

TUESDAY 3rd October 2006

Headed Item No. 5

WHITECHURCH STREAM

The estate Whitechurch Stream, Rathfarnham was developed by A.M. Construction Ltd on foot of planning permission Register Reference S97A/0262 which was granted on 10th August 1998.

Due to the failure of the Developer to complete the outstanding works the Council sequestered the cash security in the sum of €6,418.30 and the estate was taken in charge in October 2005 (Managers Order No. R/482/05 refers).

The following works have been carried out by the Council:-

Wearing course has been laid on the entrance road and parking bays.

1 light duty manhole cover has been replaced.

The following is the status of the remaining works :

Status

Erect 2 No. Road name signs				      	     		       Ordered

Provide and construct 3 no. surface water road gullies 		  	To be completed in October (Roads)

Replace 5m-drop kerbing between road and paved footpath area		To be completed in October (Roads)

Secure drainage inspection chamber at L/H approach to bridge           	To be completed in October (Drainage)

Reconstruct foul drainage manhole						To be completed in October (Drainage)   Erect 1 No. public light (lantern, ducting, cable etc)				To be completed in October (Roads)          Erect 1 No. duct foot hydrant sign at No. 1					To be completed in October (Drainage)

Erect H.Y. marker plate @ No. 5						To be completed in October (Drainage)

Erect 1 No. S.V. marker plate @ No. 5					To be completed in October (Drainage)

Provide and erect 50m x 1.2m high fencing.

(A safety guard to river)				   			 Work in hand (Parks)