COMHAIRLE CHONTAE ÁTHA CLIATH THEAS
SOUTH DUBLIN COUNTY COUNCIL

MEETING OF TERENURE-RATHFARNHAM AREA COMMITTEE (1)

TUESDAY 3rd October 2006

MOTION No. 6

MOTION: Councillor A. White

"That the Manager arrange for the immediate completion of all outstanding works at Whitechurch Stream, especially in view of the clear commitment given in this regard before the Summer break."

REPORT:

The estate Whitechurch Stream, Rathfarnham was developed by A.M. Construction Ltd on foot of planning permission Register Reference S97A/0262 which was granted on 10th August 1998.

Due to the failure of the Developer to complete the outstanding works the Council sequestered the cash security in the sum of €6,418.30 and the estate was taken in charge in October 2005 (Managers Order No. R/482/05 refers).

The following works have been carried out by the Council:-

Wearing course has been laid on the entrance road and parking bays.

1 light duty manhole cover has been replaced.

The following is the status of the remaining works :

Status

Erect 2 No. Road name signs				      	     		       Ordered

Provide and construct 3 no. surface water road gullies 		  	To be completed in October (Roads)

Replace 5m-drop kerbing between road and paved footpath area		To be completed in October (Roads)

Secure drainage inspection chamber at L/H approach to bridge           	To be completed in October (Drainage)

Reconstruct foul drainage manhole						To be completed in October (Drainage)   Erect 1 No. public light (lantern, ducting, cable etc)				To be completed in October (Roads)          Erect 1 No. duct foot hydrant sign at No. 1					To be completed in October (Drainage)

Erect H.Y. marker plate @ No. 5						To be completed in October (Drainage)

Erect 1 No. S.V. marker plate @ No. 5					To be completed in October (Drainage)

Provide and erect 50m x 1.2m high fencing.

(A safety guard to river)				   			 Work in hand (Parks)